## Calibration record
Probe Thermometer Calibration Record
Check each probe at least monthly and after it has been dropped. Pass or Fail is worked out for you.
Display-Fridge Wholesale Ltd · display-fridge.co.uk/resources · Free to use and share
[5 empty] | Iced water: lowest pass (°C) |  |  | -1
Business |  |  |  |  | Iced water: highest pass (°C) |  |  | 1
[5 empty] | Boiling water: lowest pass (°C) |  |  | 99
[5 empty] | Boiling water: highest pass (°C) |  |  | 101
[5 empty] | Days between checks |  |  | 30
White cells: type here · Grey cells: filled in automatically · Yellow cells: settings you can change
Date | Thermometer ID | Iced water (°C) | Result | Boiling water (°C) | Result | Overall | Action if failed | Initials | Next check due

## How to use
Probe Thermometer Calibration Record
How to use this workbook
Display-Fridge Wholesale Ltd · display-fridge.co.uk/resources · Free to use and share
Iced water test
• Fill a glass with crushed ice and top it up with cold water. Stir and wait one minute.
• Put the probe in the centre, not touching the glass, and wait until the reading stops changing.
• Type the reading. A pass is between −1°C and +1°C.
Boiling water test
• Put the probe in rapidly boiling water, away from the bottom of the pan.
• Type the reading. A pass is between 99°C and 101°C.
If a thermometer fails
• Stop using it and label it as faulty. Change the battery and test again.
• Still failing? Replace it, and re-check any recent readings you are unsure about.
• Write what you did in the Action column.
Based on Food Standards Agency guidance for England, Wales and Northern Ireland. Businesses in Scotland should check Food Standards Scotland guidance. This sheet supports, but does not replace, your food safety management system (e.g. Safer Food, Better Business).
More free logs, checklists and tools: display-fridge.co.uk/resources