## Energy checklist
Refrigeration Energy-Saving Checklist
Mark each habit Done, To do or N/A. Your score shows how many are in place.
Display-Fridge Wholesale Ltd · display-fridge.co.uk/resources · Free to use and share
Business |  | Score
White cells: type here · Grey cells: filled in automatically · Yellow cells: settings you can change
Status | Check | Tip | How often | Last checked | Next due | Notes
Every day
| Close night blinds on open multidecks after closing |  | Daily
| Keep doors shut and do not prop them open during deliveries |  | Daily
| Fill displays only to the load line; keep air vents and the air curtain clear |  | Daily
| Never put hot food in a fridge or display cabinet | Cool it first | Daily
| Switch off cabinet lights out of hours if the controller allows it |  | Daily
Every week
| Check door seals for splits and gaps | Close the door on a sheet of paper: it should grip | Weekly
| Check set temperatures are right, not colder than needed | Chilled 0°C to 5°C | Weekly
| Look for ice build-up on the evaporator | Ice makes the unit work harder | Weekly
Every month
| Brush dust off condenser grilles and coils | Switch off first | Monthly
| Keep 5 cm to 10 cm clear around vents | Check the manual | Monthly
| Move stock and boxes away from the back and top of units |  | Monthly
Where units are placed
| Away from ovens, radiators, dishwashers and direct sunlight |  | Once
| Not under air-conditioning or heater outlets that blow onto open fronts |  | Once
| Enough space for warm air to escape from the condenser |  | Once
When you replace equipment
| Compare kWh per 24 hours, not only the purchase price | Use the Running Cost Calculator | Once
| Choose glass doors where shoppers do not need open access |  | Once
| Look for LED lighting, R290 refrigerant and night blinds |  | Once
| Replace units that keep breaking down or struggle to hold temperature |  | Once

## How to use
Refrigeration Energy-Saving Checklist
How to use this workbook
Display-Fridge Wholesale Ltd · display-fridge.co.uk/resources · Free to use and share
How it works
• Mark each habit Done, To do or N/A. The score shows the share of relevant habits in place.
• Type the date you last checked something; Next due fills in and turns red when it is late.
Find out what your fridges cost
• Look up the energy use (kWh per 24 hours) on the specification sheet or rating plate.
• Multiply by your electricity unit rate, then by 365, or use the free Running Cost Calculator.
General guidance only. Always follow the manufacturer's instructions for your equipment.
More free logs, checklists and tools: display-fridge.co.uk/resources